Stepwise Process for Improving the Quality of Rapid Diagnostic Testing (SPI-RDT)

SPI-RDT Checklist

2026

Note: Refer to User’s Guide for Site Assessment Using the SPI-RDT Checklist  for information on how to conduct the assessment

PART A: CHARACTERISTICS OF THE FACILITY AND TESTING SITE ASSESSED

Before completing the checklist, it is important to characterize the testing site to be assessed (one testing site per checklist). Please provide relevant information in the summary table below.

| Date of Assessment: Testing Facility Name: | Time of Assessment: Testing Site Name: |  | Date of Previous Assessment: |
| --- | --- | --- | --- |
| Physical address or location of the testing facility: Number of POC testing sites within the same facility (contextual information only): Name of testing site(s) location(s) assessed: |  |  |  |
| List of Point of care (POC) tests conducted at this testing site: |  |  |  |
| Type of Facility (Check one that is most applicable) ☐ Health Center ☐ Mobile Clinic ☐ Laboratory (Specify): ☐ Specialized Clinic (Specify): ☐ Hospital Bedside ☐ Other (Specify): |  |  |  |
| Level (Check one) ☐ Region, province or zone ☐ District ☐ Health center ☐ Other (Specify): |  | Affiliation (Check one) ☐ Government ☐ Private ☐ Faith-based Organization ☐ Non-governmental organization ☐ Other (Specify): |  |
| Name of staff |  | Title of staff |  |
| Name of interviewee: Title: Phone number: |  |  |  |

### Part B. SPI-RDT Checklist

Part B constitutes the main body of the SPI-RDT Checklist for conducting the assessment and scoring. The Checklist is laid out in five sections that align with the national standard requirements.

Instructions as per guidelines

- For each question, answer as follows:

- Tick Yes (Y), only if full compliance is demonstrated

- Tick Partial (P), if some compliance is demonstrated

- Tick No (N), if there is no evidence of compliance

- Tick Not Applicable (N/A), if the question is not applicable or irrelevant to the country context, a score is not required

- In the Comment box, describe the specific gap (Partial and No scores) or the reason the question does not apply (N/A)

- Sections 1 (Organization and Management), 2 (Physical Facility and Equipment) and 3 (Safety) pertain to the overall facility incorporating the testing sites. Section 4 (Testing) assesses the testing site(s) and Section 5 (Specimen Referral) assesses the testing site(s).

|  | 1.0 ORGANISATION AND MANAGEMENT |  | Y | P | N | N/A |  |  | Comments | Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.1 | Are lines of authority and roles and responsibilities clearly defined and an organogram available? |  |  |  |  |  |  |  |  |  |
| 1.2 | Does each staff member involved in testing have a current job description? |  |  |  |  |  |  |  |  |  |
| 1.3 | Where there is more than one tester, is there a duty roster? |  |  |  |  |  |  |  |  |  |
| 1.4 | Are there adequate staff for the testing volume? |  |  |  |  |  |  |  |  |  |
| 1.5 | Are minutes of routine (at least monthly) staff meetings available? |  |  |  |  |  |  |  |  |  |
| 1.6 | Are training records available on general basic quality activities for staff performing point of care testing? |  |  |  |  |  |  |  |  |  |
| 1.7 | Are copies of previous assessment reports available? |  |  |  |  |  |  |  |  |  |
| 1.8 | Have gaps and recommendations from the last assessment been addressed? |  |  |  |  |  |  |  |  |  |
|  |  | TOTAL POSSIBLE SCORE: |  |  |  |  |  | SITE SCORE: |  |  |

|  |  |  | 2.0 PHYSICAL FACILITY AND EQUIPMENT |  | Y | P | N |  | N/A |  | Comments | Score |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2.1 |  | Is there a designated (private if needed) specimen/patient collection/reception area where appropriate? |  |  |  |  |  |  |  |  |  |  |  |
| 2.2 |  | Is the testing area access-controlled and secure? |  |  |  |  |  |  |  |  |  |  |  |
| 2.3 |  | Is there an area for staff to store food and personal items, separate from the testing area? |  |  |  |  |  |  |  |  |  |  |  |
| 2.4 |  | Is there a designated area for testing only, separate from the “clean” administrative area? |  |  |  |  |  |  |  |  |  |  |  |
| 2.5 |  | Is the testing area clean and organized? |  |  |  |  |  |  |  |  |  |  |  |
| 2.6 |  | Is sufficient lighting available in the designated testing area? |  |  |  |  |  |  |  |  |  |  |  |
| 2.7 |  | Does the site have adequate and appropriate storage for test kits, consumables and ancillary equipment? |  |  |  |  |  |  |  |  |  |  |  |
| 2.8 |  | Is there a current inventory SOP/job aid available and a system in place for ordering and managing reagents and consumables? |  |  |  |  |  |  |  |  |  |  |  |
| 2.9 |  | Are temperature logs available and updated daily for storage as per SOP/job aid? |  |  |  |  |  |  |  |  |  |  |  |
| 2.10 |  | Is the appropriate equipment available, calibrated, including timers, thermometers and other small equipment where applicable, and are records available? |  |  |  |  |  |  |  |  |  |  |  |
|  | TOTAL POSSIBLE SCORE: |  |  |  |  |  |  |  |  |  | SITE SCORE: |  |  |  |

|  | 3.0 SAFETY | Y | P | N | N/A |  | Comments | Score |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 3.1 | Are there current general SOPs/ job aids in place to implement safety practices (e.g., use of aprons/coats, gloves, hand washing, waste management, etc.)? |  |  |  |  |  |  |  |
| 3.2 | Are current SOPs and/or job aids available to address accidental exposure to potential pathogens (e.g., spills, needle sticks, injuries, or cuts)? |  |  |  |  |  |  |  |
| 3.3 | Is personal protective equipment (PPE) available to testers in the testing area? |  |  |  |  |  |  |  |
| 3.4 | Do all testers properly and consistently use PPE throughout the testing process? |  |  |  |  |  |  |  |
| 3.5 | Is clean water, soap (or hand sanitizer) and paper/hand towel available for hand washing, and being used by all testers per SOP/job aid? |  |  |  |  |  |  |  |
| 3.6 | Is the disinfectant solution available properly labeled with content, date of preparation, and date of expiration? |  |  |  |  |  |  |  |
| 3.7 | Are sharps, infectious, and non-infectious waste separated in accordance with current waste management SOPs? |  |  |  |  |  |  |  |
| 3.8 | Are infectious waste and sharp containers transported and disposed of safely? |  |  |  |  |  |  |  |
| 3.9 | Is vaccination against Hepatitis B infection available to testers, and is there documented evidence of vaccination or refusal? |  |  |  |  |  |  |  |
| TOTAL POSSIBLE SCORE: |  |  |  |  |  | SITE SCORE: |  |  |

| 4.0 TESTING |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Name of pathogen tested e.g. HIV |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Manufacturer name of test(s). Name all tests where there are testing algorithms |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| * N/A is only an option if The question does not apply |  | Y | P | N | N/A | Y | P | N | N/A | Y | P | N | N/A | Y | P | N | N/A | Y | P | N | N/A | Y | P | N | N/A | Y | P | N | N/A |
| 4.1 | Are testers initially trained in-service, deemed competent, and are records available? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.2 | Are records of periodic competency assessments conducted for all testers? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.3 | Is the test conducted nationally approved as per SOP/job aid? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.4 | Is the testing SOP/job aid available and current? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.5 | Is the job aid displayed or accessible? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.6 | Is Quality Control (QC) testing performed routinely as per SOP? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.7 | Are QC results documented and reviewed by the tester prior to reporting patient results? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.8 | Is the site enrolled in an External Quality Assessment (EQA) program (e.g., Proficiency Testing (PT), re-testing or inter-facility comparison) for the test performed? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.9 | Are EQA reports (e.g., PT, re-testing, inter-facility comparison) reviewed and is there recorded evidence of corrective actions for failed EQA results? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.10 | Does the site have appropriate equipment for the test performed? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.11 | Are test kit inserts available for all tests at the testing site? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.12 | Are the test kits stored according to the manufacturer’s instructions? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.13 | Are new batches/lots/shipments of kits verified prior to use and records available? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.14 | Are adequate test kits available? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.15 | Are adequate consumables available? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.16 | Are expired kits safely disposed of or removed from the testing site as per SOP/job aid? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.17 | Is there a specific workflow for pre-testing, testing, and post-testing? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.18 | Is testing conducted in accordance with the SOP/job aid? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.19 | Are nationally approved algorithms used where applicable (e.g. HIV testing algorithm)? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.20 | Are corrective measures recorded and documented, as per SOP/job aid, when a test result is invalid or incorrect? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.21 | When errors/incidents or accidents occur (e.g. per site assessment report), are corrective measures recorded and documented as per SOP/job aid? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.22 | Is a standardized logbook/register available and correctly completed? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4.23 | Are completed logbooks/registers properly archived? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total possible score and actual score obtained per pathogen |  | / |  |  |  | / |  |  |  | / |  |  |  | / |  |  |  | / |  |  |  | / |  |  |  | / |  |  |  |
| Total scores for all pathogens out of the total possible scores |  | / |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

4: Gaps or observations from Section 4 above

| Test Program Name | Question Number | Score (P or N) | Gaps/ Observations for improvement | Comments |
| --- | --- | --- | --- | --- |

| (Note: If the testing site does not refer specimens, mark N/A for Section 5.0 and document ‘No specimen referral conducted at this site) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 5.0 SPECIMEN REFERRAL | Y | P | N | N/A | Comments | Score |
| 5.1 | Is there a current SOP/job aid for referring specimens which includes collection, storage, transportation, tracking and reporting? |  |  |  |  |  |  |
| 5.2 | Are records and results of referred specimens available based on the current SOP/job aid? |  |  |  |  |  |  |
| 5.3 | Are adequate packaging materials available and correctly used per SOP/job aid? |  |  |  |  |  |  |
| 5.4 | Are referral specimen transportation logs included with specimens for tracking? |  |  |  |  |  |  |
| 5.5 | Is a referral record/logbook available and maintained? |  |  |  |  |  |  |
| 5.6 | Does the facility receive copies of referred test reports from the reference lab and are these distributed to the test requester? |  |  |  |  |  |  |
| 5.7 | Does the testing site monitor the turnaround time (TAT) of referred specimens from the referring facility to receipt of reports from the reference laboratory? |  |  |  |  |  |  |
| 5.8 | Where the result reports are delayed, does the site follow up with the referral laboratory and document the action? |  |  |  |  |  |  |
| 5.9 | Is there appropriate temporary storage space for referral specimens prior to transportation? |  |  |  |  |  |  |
| TOTAL POSSIBLE SCORE: |  |  |  |  |  | SITE SCORE: |  |  |

PART C: Scoring

Each element marked will be assigned a point value: ￼

- Items marked “Yes or Y” receive 2 points each

- Items marked “Partial or P” receive 1 point each

- Items marked “No or N” receive 0 point each

Total points scored for each section should be tallied and recorded at the end of each section. The possible total number of points obtained for all 5 sections will depend on the numbers of test types and where N/A is observed. Refer to guidelines for detailed instructions.

| Assessment Score Sheet Summary |  |  |  |
| --- | --- | --- | --- |
| Section B | Section Name | Total Possible Score | Total Score Obtained |
| Section B1 | Organization and Management |  |  |
| Section B2 | Physical Facility |  |  |
| Section B3 | Safety |  |  |
| Section B4 | Testing |  |  |
| Section B5 | Specimen Referral |  |  |
| TOTAL SCORE |  |  |  |

TOTAL SITE PERCENTAGE SCORE =

Total site score/possible total score for this assessment * 100

SITE LEVEL OBTAINED =

| Levels | % Score | Description of results |
| --- | --- | --- |
| Level 0 | Less than 40% | Needs improvement in all areas and immediate remediation |
| Level 1 | 40% to 59% | Needs improvement in specific areas |
| Level 2 | 60%-79% | Partially eligible |
| Level 3 | 80%-89% | Close to national site certification |
| Level 4 | 90% or higher | Eligible to national site certification |

Assessor 1 Name:							Assessor 2 Name:

Assessor 1 Signature: 					             Assessor 2 Signature:

Time at end of audit (HH:MM):

PART D: Site Assessment Report and Recommendations

| SPI-RDT SITE ASSESSMENT REPORT |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Name of Site/Facility: |  |  |  |  | Date: |  |  |
| Question Number | Test Name if applicable | Score P/ N | Gap/observation for improvement | Recommendation | Site/Facility/District/ Regional or National Responsibility | Date Completed | Responsible Person |

Assessor(s) Name:	                                               Signature:	                                                               Date: